## Sheet1
Flux Test w/ 400 ppm & 2.5 LPM MFC
Low Test |  |  | High
Delivery | 0.5 | umol/m^2/s | Delivery | 10 | umol/m^2/s
Steady State | 23.396 | ppm | Steady State | 467.93 | ppm
Time | 23 | min | Time | 45 | min
Observed Steady State | 500 | ppm | Observed Steady State | 378 | ppm
Ambient Reference | 527 | ppm | Ambient Reference | 512 | ppm
Steady State Diff | 4 | ppm | Steady State Diff | 89 | ppm
Start Time | 2024-05-20 10:08 | time | Start Time | 2024-05-20 10:42 | time
End Time | 2024-05-20 10:24 | time | End Time | 2024-05-21 11:01 | time
LICOR Start Time | 2024-05-20 10:05 | time | LICOR Start Time | 2024-05-20 10:39 | time
LICOR End Time | 2024-05-20 10:21 | time | LICOR End Time | 2024-05-21 10:58 | time
Flux Test w/ 3003 ppm & 0.2 LPM MFC |  |  | Flux Test w/ 3003 ppm & 0.2 LPM MFC |  |  | Flux Test w/ 3003 ppm & 0.2 LPM MFC |  |  | Dataset | Tank CO2 [ppm] | MFC Set Point [LPM] | Flux Delivery [umol/m^2/s] | Theoretical Steady State Offset [ppm] | Measured Ambient [ppm] | Measured Ambient Timestamp | Test Start Timestamp | Test End Timestamp | Licor Test Start Timestamp | Licor Test End Timestamp
Delivery | 0.6418 | umol/m^2/s | Delivery | 3.2088 | umol/m^2/s | Delivery | 5.7759 | umol/m^2/s | 2024-05-21 | 3003 | 0.02 | 0.6418 | 30.0301 | 536 | 2024-05-21 11:45 | 2024-05-21 11:47 | 2024-05-21 12:11 | 2024-05-21 11:44 | 2024-05-21 12:08
MFC Rate | 0.02 | lpm | MFC Rate | 0.1 | lpm | MFC Rate | 0.18 | lpm | 2024-05-21 | 3003 | 0.1 | 3.2088 | 150.1503 | 545 | 2024-05-21 12:27 | 2024-05-21 12:28 | 2024-05-21 12:53 | 2024-05-21 12:25 | 2024-05-21 12:50
Steady State Offset | 30.0301 | ppm | Steady State Offset | 150.1503 | ppm | Steady State Offset | 270.2706 | ppm | 2024-05-21 | 3003 | 0.18 | 5.7759 | 270.2706 | 548 | 2024-05-21 13:41 | 2024-05-21 13:16 | 2024-05-21 13:41 | 2024-05-21 13:13 | 2024-05-21 13:38
Observed Steady State | 558 | ppm | Observed Steady State | 648 | ppm | Observed Steady State | 737 | ppm | 2024-05-22 | 3003 | 0.25 | 8.0221 | 375.3759 | 530 | 2024-05-22 09:27 | 2024-05-22 09:30 | 2024-05-22 09:59 | 2024-05-22 09:27 | 2024-05-22 09:56
Ambient Reference Time | 2024-05-21 11:45 | time | Ambient Reference Time | 2024-05-21 12:27 | time | Ambient Reference Time | 2024-05-21 13:41 | time | 2024-05-22 | 3003 | 0.3106 | 9.9968 | 466.3761 | 542 | 2024-05-22 10:25 | 2024-05-22 10:25 | 2024-05-22 10:50 | 2024-05-22 10:22 | 2024-05-22 10:47
Ambient Reference | 536 | ppm | Ambient Reference | 545 | ppm | Ambient Reference | 548 | ppm
Start Time | 2024-05-21 11:47 | time | Start Time | 2024-05-21 12:28 | time | Start Time | 2024-05-21 13:16 | time
End Time | 2024-05-21 12:11 | time | End Time | 2024-05-21 12:53 | time | End Time | 2024-05-21 13:41 | time
LICOR Start Time | 2024-05-21 11:44 | time | LICOR Start Time | 2024-05-21 12:25 | time | LICOR Start Time | 2024-05-21 13:13 | time
LICOR End Time | 2024-05-21 12:08 | time | LICOR End Time | 2024-05-21 12:50 | time | LICOR End Time | 2024-05-21 13:38 | time
Observed Steady State Offset | 22 | ppm | Observed Steady State Offset | 103 | ppm | Observed Steady State Offset | 189 | ppm
Flux Test w/ 3003 ppm & 2.5 LPM MFC |  |  | Flux Test w/ 3003 ppm & 2.5 LPM MFC
Delivery | 8.0221 | umol/m^2/s | Delivery | 9.9968 | umol/m^2/s
MFC Rate | 0.25 | lpm | MFC Rate | 0.3106 | lpm
Steady State Offset | 375.3759 | ppm | Steady State Offset | 466.3761 | ppm
Observed Steady State | 813 | ppm | Observed Steady State |  | ppm
Ambient Reference Time | 2024-05-22 09:27 | time | Ambient Reference Time | 2024-05-22 10:25 | time
Ambient Reference | 530 | ppm | Ambient Reference | 542 | ppm
Start Time | 2024-05-22 09:30 | time | Start Time | 2024-05-22 10:25 | time
End Time | 2024-05-22 09:59 | time | End Time | 2024-05-22 10:50 | time
LICOR Start Time | 2024-05-22 09:27 | time | LICOR Start Time | 2024-05-22 10:22 | time
LICOR End Time | 2024-05-22 09:56 | time | LICOR End Time | 2024-05-22 10:47 | time
905.3759
|  |  | 1008.3761 | ppm
Formulas:
Licor Test Start Timestamp = [Test Start Timestamp]-TIME(0,3,0)
Licor Test End Timestamp = [Test End Timestamp]-TIME(0,3,0)